Site Investigation and Surveys Data Tracker (DRM2)

Guidance on Use of the Template

Introduction

The following lists of possible surveys can be used to identify relevant pre-construction information that the client may reasonably be expected to provide to the project team. For simple projects, the list may be very brief, whereas on larger more complex schemes the survey tracker may represent a major management exercise.

Process

From the development of the DRM1 Strategy Brief onwards, the survey tracker can be used as an aide memoir to ensure all relevant surveys and investigations have been considered.

Benefits

For the client – a clear understanding of the range of information which may need to be considered at the early stages of a project.

For the principal designer – an established schedule covering most of the issues likely to be encountered, many of which can be quickly eliminated in considering the scope of work.

For the designers – a checklist to help advise the principal designer of the adequacy of PCI provided to date.

| Ref. | Item | Action Owner/Notes | Status |
| --- | --- | --- | --- |
| A1 | Site investigation & remediation |  |  |
|  | Services/Utilities/Statutory Authorities (Location and Capacities) possible diversions and or need for new infrastructure e.g., sub-station. (Gas/water/ electricity/ Sewers/Telephone/Cables/ Drainage condition) Note |  |  |
|  | Underground Features (Tunnel/Mining/Fracking) |  |  |
|  | Archaeology |  |  |
|  | Desktop Study/ Photographic survey/Initial site visit report |  |  |
|  | Excavations/ Burial site survey |  |  |
|  | Laser Survey/ Sub scan Survey/Cloud |  |  |
|  | Structural Survey / Condition Survey |  |  |
|  | Noise/Acoustic Survey |  |  |
|  | Air Quality Survey |  |  |
|  | Environmental Assessment Survey |  |  |
|  | Flood Risk Assessment |  |  |
|  | Geotechnical Survey (bore holes/trial pits- existing features and foundations) |  |  |
|  | Contamination (Pathogens/Anthrax/ Volatile Organic Compounds [VOCs] /Radon/ Methane) |  |  |
|  | Lead Paint Survey |  |  |
|  | Unexploded Ordnance (UXO) Report |  |  |
|  | Quality of incoming water |  |  |
| A2 | Surrounding environment |  |  |
|  | Ordnance Survey |  |  |
|  | Historical Maps |  |  |
|  | Other Town Planning Applications |  |  |
|  | Aerial Photographs |  |  |
|  | Historic Photographs |  |  |
|  | Boundaries / Land Ownership |  |  |
|  | Land Registry Plan |  |  |
|  | Ownership Deeds/Easements/Covenants |  |  |
|  | Rights of Way |  |  |
|  | Party Wall Matters |  |  |
|  | Rights of Light |  |  |
|  | Listed Building – Historic England Listing Description |  |  |
|  | Local Development Framework/Local Plan |  |  |
|  | Land Use Zones |  |  |
|  | Conservation Areas |  |  |
|  | View Corridors to Landmarks |  |  |
|  | Height Restrictions |  |  |
|  | National Parks |  |  |
|  | Areas of Outstanding Natural Beauty (ANOB) |  |  |
|  | Green Belt |  |  |
|  | Refuse Collection Strategy |  |  |
|  | Sites of Special Scientific Interest (SSSI) |  |  |
|  | Local Byelaws |  |  |
|  | Topographic Survey - Measured Survey/Land Survey – Features |  |  |
|  | Airfield aircraft approach envelopes |  |  |
|  | Planning Portal applications |  |  |
| A3 | Site Clearance and demolition |  |  |
|  | Asbestos (Demolition/ground) |  |  |
|  | Arboriculture (Tree) Survey – Tree Preservation Orders/Clay Shrinkage/Clay Heave/Root Protection Zones Note: BS 5837 (2012) |  |  |
|  | Ecological Survey (protected species/bat roosts/ snails/slow worms) |  |  |
|  | Structural survey/assessment |  |  |
| A4 | Access (onto and within site) |  |  |
|  | PTAL (Public Transport Accessibility Level) Rating |  |  |
|  | Transport Survey |  |  |
|  | Parking Survey |  |  |
| A5 | Site Layout |  |  |
|  | Existing Record Drawings from Client |  |  |
|  | Drawings (List of Drawings or refer to a Schedule of Drawings) |  |  |
|  | Existing Health & Safety File (CDM) from Client (Buildings completed or altered since 1995) |  |  |